## Data Key
DR5941
This data set was downloaded from Marion County Public Health Department's Environmental Public Health Tracking Network (marionhealth.org/ehdata)
For any questions about how this data was analyzed, please contact epidemiology@marionhealth.org.
For questions about public water quality testing, please contact IDEM or the PWS
Data Source: Indiana Department of Environmental Management Drinking Water Viewer (https://indwv.gecsws.com/)
Date Analyzed: 11/2025
This information is updated yearly.
Years Included: 2022 - 2024
System Info |  | Maximum Contaminent Limits (MCLs)
PWSName | Name of the public water system | Arsenic | 10 µg/L
PWSIDNumber | Unique code used to identify the PWS | Atrazine | 3 µg/L
PrimarySourceCode | What water source the PWS uses. SW = Surface Water; GW = Ground Water | Combined Radium 226 & 228 | 5 pCi/L
SystemPopulation | How many individuals the PWS serves | DEHP | 6 µg/L
TotalConnections | How many connections to homes, bussinesses, schools, etc the PWS has | Nitrate | 10 µg/L
Year | The year this data is for | PCE | 5 µg/L
|  | TCE | 5 µg/L
Sampling Data |  | HAA5 | 60 µg/L
PWSIDNumber | Unique code used to identify the PWS | TTHM | 80 µg/L
PWSName | Name of the public water system
Analyte | Name of the contaminant being tested for
AnalyteCode | A code used to represent the analyte being tested for
SampleConcentration | Average concentration of all testing that occurred in that year for that analyte
ConcentrationUnits | Units the concentration is measured in
NumSamples | The total number of samples used to calcualte the yearly mean
NumNonDetects | The number of samples that had a result of Non-Detect. The concentration was too low for testing methods to detect its presence
Year | The year the sampling occurred
About the Data
Non-detect tests were converted into values so that averages could be created. Non-detect does not mean that the contaminant is not present, but instead that the concentration is low enough that testing methods cannot detect it. Thus, assigning a non-detect test a value of zero would not be accurate. Instead, the value was created by dividing the detection limit in half. For example, a non-detect test with a detection limit of 0.5 mg/L would be converted to 0.25 mg/L.
Some contaminants are not required to be tested for yearly, which is why there are systems missing test results.
The contaminants included on this page are those selected by the Environmental Public Health Tracking Network. For the full list of contaminants included in the National Primary Drinking Water Regulations, visit the EPA website (https://www.epa.gov/ground-water-and-drinking-water/national-primary-drinking-water-regulations). Note that the EPA displays most MCLs using mg/L (milligrams per liter) while MCPHD uses µg/L (micrograms per liter). One µg/L is equal to 0.001 mg/L.

## System Info
PWSName | PWSIDNumber | PrimarySourceCode | SystemPopulation | TotalConnections | Year
CITIZENS WATER - INDIANAPOLIS | IN5249004 | SW | 862835 | 346771 | 2024
CITY OF LAWRENCE UTILITIES | IN5249005 | GW | 49000 | 14843 | 2024
SPEEDWAY WATER WORKS | IN5249008 | SW | 13770 | 4231 | 2024

## Sampling 2022
PWSIDNumber | PWSName | Analyte | AnalyteCode | SampleConcentration | ConcentrationUnits | NumSamples | NumNonDetects | Year
IN5249004 | CITIZENS WATER - INDIANAPOLIS | HAA5 | 2456 | 40.51 | ug/L | 64 | 0 | 2022
IN5249004 | CITIZENS WATER - INDIANAPOLIS | TTHM | 2950 | 55.35 | ug/L | 64 | 0 | 2022
IN5249005 | CITY OF LAWRENCE UTILITIES | HAA5 | 2456 | 16.2 | ug/L | 16 | 0 | 2022
IN5249005 | CITY OF LAWRENCE UTILITIES | TTHM | 2950 | 38.99 | ug/L | 16 | 0 | 2022
IN5249008 | SPEEDWAY WATER WORKS | HAA5 | 2456 | 10.61 | ug/L | 16 | 4 | 2022
IN5249008 | SPEEDWAY WATER WORKS | TTHM | 2950 | 26.81 | ug/L | 16 | 5 | 2022
IN5249004 | CITIZENS WATER - INDIANAPOLIS | Arsenic | 1005 | 0.7 | ug/L | 9 | 9 | 2022
IN5249004 | CITIZENS WATER - INDIANAPOLIS | Nitrate | 1040 | 0.7 | mg/L | 9 | 3 | 2022
IN5249004 | CITIZENS WATER - INDIANAPOLIS | DEHP | 2039 | 0.3 | ug/L | 116 | 116 | 2022
IN5249004 | CITIZENS WATER - INDIANAPOLIS | Atrazine | 2050 | 0.15 | ug/L | 116 | 80 | 2022
IN5249004 | CITIZENS WATER - INDIANAPOLIS | TCE | 2984 | 0.25 | ug/L | 37 | 37 | 2022
IN5249004 | CITIZENS WATER - INDIANAPOLIS | PCE | 2987 | 0.25 | ug/L | 37 | 37 | 2022
IN5249004 | CITIZENS WATER - INDIANAPOLIS | Combined Radium 226 & 228 | 4010 | 0.35 | pCi/L | 9 | 3 | 2022
IN5249005 | CITY OF LAWRENCE UTILITIES | Nitrate | 1040 | 0.45 | mg/L | 3 | 2 | 2022
IN5249008 | SPEEDWAY WATER WORKS | Nitrate | 1038 | 0.92 | mg/L | 2 | 0 | 2022
IN5249008 | SPEEDWAY WATER WORKS | DEHP | 2039 | 0.25 | ug/L | 4 | 4 | 2022
IN5249008 | SPEEDWAY WATER WORKS | Atrazine | 2050 | 0.22 | ug/L | 4 | 3 | 2022
IN5249008 | SPEEDWAY WATER WORKS | TCE | 2984 | 0.25 | ug/L | 1 | 1 | 2022
IN5249008 | SPEEDWAY WATER WORKS | PCE | 2987 | 0.25 | ug/L | 1 | 1 | 2022

## Sampling 2023
PWSIDNumber | PWSName | Analyte | AnalyteCode | SampleConcentration | ConcentrationUnits | NumSamples | NumNonDetects | Year
IN5249004 | CITIZENS WATER - INDIANAPOLIS | HAA5 | 2456 | 36.67 | ug/L | 128 | 0 | 2023
IN5249004 | CITIZENS WATER - INDIANAPOLIS | TTHM | 2950 | 51.02 | ug/L | 128 | 0 | 2023
IN5249004 | CITIZENS WATER - INDIANAPOLIS | Arsenic | 1005 | 0.7 | ug/L | 18 | 18 | 2023
IN5249004 | CITIZENS WATER - INDIANAPOLIS | Nitrate | 1040 | 0.58 | mg/L | 18 | 6 | 2023
IN5249004 | CITIZENS WATER - INDIANAPOLIS | DEHP | 2039 | 0.3 | ug/L | 129 | 129 | 2023
IN5249004 | CITIZENS WATER - INDIANAPOLIS | Atrazine | 2050 | 0.17 | ug/L | 129 | 103 | 2023
IN5249004 | CITIZENS WATER - INDIANAPOLIS | TCE | 2984 | 0.25 | ug/L | 45 | 45 | 2023
IN5249004 | CITIZENS WATER - INDIANAPOLIS | PCE | 2987 | 0.25 | ug/L | 45 | 45 | 2023
IN5249005 | CITY OF LAWRENCE UTILITIES | HAA5 | 2456 | 19.94 | ug/L | 16 | 0 | 2023
IN5249005 | CITY OF LAWRENCE UTILITIES | TTHM | 2950 | 39.98 | ug/L | 16 | 0 | 2023
IN5249005 | CITY OF LAWRENCE UTILITIES | Arsenic | 1005 | 0.5 | ug/L | 3 | 3 | 2023
IN5249005 | CITY OF LAWRENCE UTILITIES | Nitrate | 1040 | 0.56 | mg/L | 3 | 0 | 2023
IN5249005 | CITY OF LAWRENCE UTILITIES | TCE | 2984 | 0.25 | ug/L | 3 | 3 | 2023
IN5249005 | CITY OF LAWRENCE UTILITIES | PCE | 2987 | 0.25 | ug/L | 3 | 3 | 2023
IN5249008 | SPEEDWAY WATER WORKS | HAA5 | 2456 | 14.06 | ug/L | 16 | 4 | 2023
IN5249008 | SPEEDWAY WATER WORKS | TTHM | 2950 | 43.59 | ug/L | 16 | 0 | 2023
IN5249008 | SPEEDWAY WATER WORKS | Nitrate | 1038 | 0.48 | mg/L | 2 | 0 | 2023
IN5249008 | SPEEDWAY WATER WORKS | DEHP | 2039 | 0.24 | ug/L | 4 | 4 | 2023
IN5249008 | SPEEDWAY WATER WORKS | Atrazine | 2050 | 0.11 | ug/L | 4 | 2 | 2023
IN5249008 | SPEEDWAY WATER WORKS | TCE | 2984 | 0.25 | ug/L | 1 | 1 | 2023
IN5249008 | SPEEDWAY WATER WORKS | PCE | 2987 | 0.25 | ug/L | 1 | 1 | 2023

## Sampling 2024
PWSIDNumber | PWSName | Analyte | AnalyteCode | SampleConcentration | ConcentrationUnits | NumSamples | NumNonDetects | Year
IN5249004 | CITIZENS WATER - INDIANAPOLIS | DEHP | 2039 | 0.35 | ug/L | 115 | 115 | 2024
IN5249004 | CITIZENS WATER - INDIANAPOLIS | Atrazine | 2050 | 0.2 | ug/L | 115 | 64 | 2024
IN5249004 | CITIZENS WATER - INDIANAPOLIS | PCE | 2987 | 0.25 | ug/L | 42 | 42 | 2024
IN5249004 | CITIZENS WATER - INDIANAPOLIS | Arsenic | 1005 | 0.7 | ug/L | 17 | 17 | 2024
IN5249004 | CITIZENS WATER - INDIANAPOLIS | HAA5 | 2456 | 31.78 | ug/L | 192 | 0 | 2024
IN5249004 | CITIZENS WATER - INDIANAPOLIS | TCE | 2984 | 0.25 | ug/L | 42 | 42 | 2024
IN5249004 | CITIZENS WATER - INDIANAPOLIS | TTHM | 2950 | 49 | ug/L | 192 | 0 | 2024
IN5249004 | CITIZENS WATER - INDIANAPOLIS | Nitrate | 1040 | 0.71 | mg/L | 17 | 10 | 2024
IN5249005 | CITY OF LAWRENCE UTILITIES | Nitrate | 1040 | 0.46 | mg/L | 3 | 2 | 2024
IN5249005 | CITY OF LAWRENCE UTILITIES | Atrazine | 2050 | 0.1 | ug/L | 6 | 6 | 2024
IN5249005 | CITY OF LAWRENCE UTILITIES | HAA5 | 2456 | 19.29 | ug/L | 16 | 0 | 2024
IN5249005 | CITY OF LAWRENCE UTILITIES | TTHM | 2950 | 49.28 | ug/L | 16 | 0 | 2024
IN5249005 | CITY OF LAWRENCE UTILITIES | DEHP | 2039 | 0.4 | ug/L | 6 | 6 | 2024
IN5249008 | SPEEDWAY WATER WORKS | PCE | 2987 | 0.25 | ug/L | 2 | 2 | 2024
IN5249008 | SPEEDWAY WATER WORKS | TCE | 2984 | 0.25 | ug/L | 2 | 2 | 2024
IN5249008 | SPEEDWAY WATER WORKS | Atrazine | 2050 | 0.17 | ug/L | 7 | 5 | 2024
IN5249008 | SPEEDWAY WATER WORKS | TTHM | 2950 | 31.84 | ug/L | 16 | 0 | 2024
IN5249008 | SPEEDWAY WATER WORKS | HAA5 | 2456 | 13.93 | ug/L | 16 | 2 | 2024
IN5249008 | SPEEDWAY WATER WORKS | DEHP | 2039 | 0.25 | ug/L | 7 | 7 | 2024